## Slide 1
def Inflow_gen
Start
End

## Slide 2
def Determine_Demand
Start
Input(mode, Monthly Demand, month, day, STO, Inflow, Daily Rule Curve, State)
Output(Demand, State)
End
Mode == 1
Demand = Demand_Normal
State = ‘None’
Yes
No
(mode 1)
# mode 1 : Non rule curve
# mode 2 : Rule curve

## Slide 3
# mode 1 : Non rule curve
# mode 2 : Rule curve
State = ‘Normal’
Demand = Demand_Normal
STO+Inflow < Attention
Demand = Demand(Attention, …, Serious)
State = Attention, …, Serious
State != ‘Normal’
STO+Inflow >= ‘Normal’
Demand = Demand_Normal
State = ‘Normal’
Demand = Demand(Attention, …, Serious)
State = Attention, …, Serious
No
Yes
No
Yes
No
Yes
Yes
No
def Determine_Demand
(mode 2)

## Slide 4
def DH_Operation
Start
Input(WLSTO, Inflow, STO, NHSTO, LSTO, Demand)
Supply = Demand
Spillway = 0 or STO+Inflow-Demand-NHSTO
Output(STO, WL, Supply, Spillway)
End
STO+Inflow-Demand >= LSTO
Supply = STO+Inflow-LSTO
Spillway = 0
No
Yes

## Slide 5
def JAJJ_Operation
Start
Supply = Demand
Spillway = 0 or STO+Inflow-Demand-NHSTO
Output(Inflow, STO, WL, Demand , Supply, Spillway, Pipe
State)
End
STO+Inflow-Demand >= LSTO
Supply = STO+Inflow-LSTO
Spillway = 0
No
Yes
Input JA, JJ Data (WLSTO, Inflow, STO, NHSTO, LSTO, Demand)
Pipe = (7.145 * (abs(WL_JA-WL_JJ)-0.04)**0.5)
Or
Pipe = (5.831 * (abs(WL_JA-WL_JJ)-0.04)**0.5)
# JA_Damand : Intake_JA, Stream_JA

## Slide 6
def SJG_Operation
Start
Input(WLSTO, Inflow, STO, NHSTO, LSTO, Demand)
Supply = Demand
Spillway = 0 or STO+Inflow-Demand-NHSTO
Output(STO, WL, Supply, Spillway)
End
STO+Inflow-Demand >= LSTO
Supply = STO+Inflow-LSTO
Spillway = 0
No
Yes
# Damand_SJG : Intake_SJG, Stream_SJG

## Slide 7
def reservoir_system_operation
Start
Input(Start_day, End_day, mode, RawInflow, WLSTO, Character, Demand, Rulecurve)
Days = (Start day – End day) + 1
#자료 구축
Inflow, NHSTO, RSTO, LSTO, ISTO
#결과 데이터 출력변수 초기화
Result_JAJJ, Result_DH, Result_SJG
For i in range(days)
# Demand 결정
[Demand, State] = Determine_Demand(mode, Monthly Demand, month, day, STO, Inflow, Daily Rule Curve, State)
# 댐 운영
[STO, WL, Supply, Sp] = Dam_Operation(WLSTO, Inflow, STO, NHSTO, LSTO, Demand)
Output(Result_JA, Result_DH, Result_SJG)
End
* 지류 및 하류지점 유량 추가

## Slide 8
main.py
Start
Start_day = "1998-10-01"
End_day = "2024-01-05"
Mode = 1 or 2
RawInflow, WLSTO, MonthlyDamand, Character
End
[result_JAJJ, result_DH, result_SJG] = reservoir_system_operation(Start_day, End_day, mode, RawInflow, WLSTO, Character, Demand, Rulecurve)